## GL Calibrations 50 sccm
GC CALIBRATION - RESPONSE FACTORS (FEBRUARY 2020) 50 SCCM
| RT (min) | CAL FACTOR |  | CAL FACTOR
H2 | 2.889 | H2_FID | - | H2_TCD | 64809.7616
O2 | 0 | O2_FID | - | O2_TCD | -
N2 | 0 | N2_FID | - | N2_TCD | -
CH4 | 8.0733 | CH4_FID | 2840371.1659 | CH4_TCD | 16177.2721
CO | 10.4273 | CO_FID | 2790461.4442 | CO_TCD | 4955.2344
CO2 | 14.0267 | CO2_FID | 2727445.5325 | CO2_TCD | 5399.9508
C2H4 | 16.2787 | C2H4_FID | 5716926.3375 | C2H4_TCD | 12136.3095
C2H6 | 18.0087 | C2H6_FID | 5807952.7892 | C2H6_TCD | 14176.1643
C3H6 | 23.7745 | C3H6_FID | 8698110.429 | C3H6_TCD | 9767.9823
C3H8 | 24.1675 | C3H8_FID | 8855983.9091 | C3H8_TCD | 11813.4125

## GL Calibrations 10 sccm
GC CALIBRATION - RESPONSE FACTORS (NOVEMBER 2019)
CO_FID | 3306618.0753 | uV.s/mol%
H2_TCD | 75668.2214 | uV.s/mol%
O2_TCD | 7369.8272 | uV.s/mol% | From AUG19
N2_TCD | 5755.5435 | uV.s/mol% | From AUG19
CO_TCD | 5318.2109 | uV.s/mol% | From before AUG19
CO2_TCD | 5366.4086 | uV.s/mol% | From AUG19
C2H4_FID | 6701790.386 | uV.s/mol%
C3H6_FID | 10252315.3232 | uV.s/mol%
CH4_FID | 3359980.8275 | uV.s/mol%
C3H8_FID | 10382908.2503 | uV.s/mol%

## GL Calibrations OLD
GC CALIBRATION - RESPONSE FACTORS |  |  |  |  | GC CALIBRATION - RESPONSE FACTORS (AUGUST 2019) |  | GC CALIBRATION - RESPONSE FACTORS (NOVEMBER 2019)
CO_FID | 2790461.4442 | uV.s/mol% |  |  | CO_FID | 3425773.2349 | CO_FID | 3306618.0753
H2_TCD | 64809.7616 | uV.s/mol% |  |  | H2_TCD | 70238.8505 | H2_TCD | 75668.2214
O2_TCD | 7369.8272 | uV.s/mol% | #REF! |  | O2_TCD | 7369.8272 | O2_TCD | 7369.8272 | Old factors, not recalibrated
N2_TCD | 5755.5435 | uV.s/mol% |  |  | N2_TCD | 5755.5435 | N2_TCD | 5755.5435 | Old factors, not recalibrated
CO_TCD | 4955.2344 | uV.s/mol% | Previous O2 value | as | CO_TCD | 6212.8143 | CO_TCD | 5318.2109
CO2_TCD | 5399.9508 | uV.s/mol% | 7369.8272 |  | CO2_TCD | 5366.4086 | CO2_TCD | 6397.5815 | Seems wrong, use AUG19
C2H4_FID | 5716926.3375 | uV.s/mol% |  |  | C2H4_FID | 6984270.0452 | C2H4_FID | 6701790.386
C3H6_FID | 8698110.429 | uV.s/mol% |  |  | C3H6_FID | 10517532.2842 | C3H6_FID | 10252315.3232
CH4_FID | 2840371.1659 | uV.s/mol% |  |  | CH4_FID | 3488772.0645 | CH4_FID | 3359980.8275
C3H8_FID | 8855983.9091 | uV.s/mol% |  |  |  |  | C3H8_FID | 10382908.2503

## PASTY ex
CALIBRATION AND EXPERIMENTAL SETTINGS | [5 empty] | CONSTANTS |  |  |  |  | FLOW CALIBRATION FUNCTION |  | Vsignal = Kmix(xH2,xCO) * Q |  |  | FLOW CALIBRATION FUNCTION - ANODE | [19 empty] | GC CALIBRATION - RESPONSE FACTORS | [6 empty] | GC CALIBRATION - RESPONSE FACTORS (AUGUST 2019) |  |  |  | GC CALIBRATION - RESPONSE FACTORS (NOVEMBER 2019) |  |  |  |  | GC CALIBRATION - RESPONSE FACTORS (FEBRUARY 2020) 50 SCCM
Electrode area | 2.25 | cm2 |  |  |  | R | 0.083145 |  |  |  | Kmix = B_icpt + k_H2 * x_H2 + k_CO * x_CO |  |  |  |  | Kmix = B_icpt_AND + k_AIR * (1- x_CO2) | [19 empty] | CO_FID | 2790461.4442 | uV.s/mol% |  |  |  |  | CO_FID | 3425773.2349 |  |  | CO_FID | 3306618.0753 |  |  |  |  | RT (min) | CAL FACTOR |  | CAL FACTOR
CO2 inlet flow | 50 | mln/min | is equal to | 3.717e-05 | mol/s | F | 96485.332 |  |  |  | k_H2 | -1.514 | Function inputs are molar fractions! |  |  | k_AIR | -0.324 | [18 empty] | H2_TCD | 64809.7616 | uV.s/mol% |  |  |  |  | H2_TCD | 70238.8505 |  |  | H2_TCD | 75668.2214 |  |  |  | H2 | 2.889 | H2_FID | - | H2_TCD | 64809.7616
|  | 1 mln/min | is equal to | 7.434e-07 | mol/s | n (H2 and CO) | 2 |  |  |  | k_CO | -0.37736 |  |  |  | B_icpt_AIR | 0.9745 | [18 empty] | O2_TCD | 7369.8272 | uV.s/mol% |  | #DIV/0! |  |  | O2_TCD | 7369.8272 |  |  | O2_TCD | 7369.8272 | Old factors, not recalibrated |  |  | O2 | 0 | O2_FID | - | O2_TCD | -
[6 empty] | n (OER) | 4 |  |  |  | B_icpt | 0.99865 | [23 empty] | N2_TCD | 5755.5435 | uV.s/mol% |  |  |  |  | N2_TCD | 5755.5435 |  |  | N2_TCD | 5755.5435 | Old factors, not recalibrated |  |  | N2 | 0 | N2_FID | - | N2_TCD | -
[6 empty] | UNIX time start | 1970-01-01 | GMT shift (s) | 3600 |  | corr_H2O | 1 | [23 empty] | CO_TCD | 4955.2344 | uV.s/mol% |  | Previous O2 value |  | as | CO_TCD | 6212.8143 |  |  | CO_TCD | 5318.2109 |  |  |  | CH4 | 8.0733 | CH4_FID | 2840371.1659 | CH4_TCD | 16177.2721
[36 empty] | CO2_TCD | 5399.9508 | uV.s/mol% |  | 7369.8272 |  |  | CO2_TCD | 5366.4086 |  |  | CO2_TCD | 6397.5815 | Seems wrong, use AUG19 |  |  | CO | 10.4273 | CO_FID | 2790461.4442 | CO_TCD | 4955.2344
EXPERIMENT IDENTIFICATION | [5 empty] | DIRECTORIES | [29 empty] | C2H4_FID | 5716926.3375 | uV.s/mol% |  |  |  |  | C2H4_FID | 6984270.0452 |  |  | C2H4_FID | 6701790.386 |  |  |  | CO2 | 14.0267 | CO2_FID | 2727445.5325 | CO2_TCD | 5399.9508
Experiment ID | AF20004 |  |  |  |  | Main | O:\FYSIK\list-SurfCat\setups\307-059-largeCO2MEA\Data\ | [28 empty] | C3H6_FID | 8698110.429 | uV.s/mol% |  |  |  |  | C3H6_FID | 10517532.2842 |  |  | C3H6_FID | 10252315.3232 |  |  |  | C2H4 | 16.2787 | C2H4_FID | 5716926.3375 | C2H4_TCD | 12136.3095
iV data start | 1583415765.5 | UNIX time | GC shift (min) | 4.7583 |  | Subfolder | Gaston | [28 empty] | CH4_FID | 2840371.1659 | uV.s/mol% |  |  |  |  | CH4_FID | 3488772.0645 |  |  | CH4_FID | 3359980.8275 |  |  |  | C2H6 | 18.0087 | C2H6_FID | 5807952.7892 | C2H6_TCD | 14176.1643
Conditioning time (h) |  | <--- this cell is now meaningless |  |  |  | File path | O:\FYSIK\list-SurfCat\setups\307-059-largeCO2MEA\Data\Gaston\AF20004\ | [28 empty] | C3H8_FID | 8855983.9091 | uV.s/mol% | [8 empty] | C3H8_FID | 10382908.2503 |  |  |  | C3H6 | 23.7745 | C3H6_FID | 8698110.429 | C3H6_TCD | 9767.9823
[6 empty] | iV | CurrentVoltageData.txt |  | source | O:\FYSIK\list-SurfCat\setups\307-059-largeCO2MEA\Data\Gaston\AF20004\AF20004_CurrentVoltageData.txt | [41 empty] | C3H8 | 24.1675 | C3H8_FID | 8855983.9091 | C3H8_TCD | 11813.4125
[6 empty] | GC | Summary.txt |  | source | O:\FYSIK\list-SurfCat\setups\307-059-largeCO2MEA\Data\Gaston\AF20004\Summary.txt
[6 empty] | Flow | FlowData.vprj |  | source | O:\FYSIK\list-SurfCat\setups\307-059-largeCO2MEA\Data\Gaston\AF20004\AF20004_FlowData.vprj
FILE NAME | GAS CHROMATOGRAPHY DATA ACQUISITION INFORMATION | [6 empty] | CELL VOLTAGE AND CURRENT |  |  |  | CELL CURRENT |  | TOTALCHROM PEAK AREAS | [10 empty] | GC CONCENTRATIONS (mol%) | [11 empty] | HYDROGEN ADDITION TO FLOW |  |  | FARADAIC EFFICIENCY (%) - NOT FLOW-CORRECTED | [6 empty] | PCD (mA/cm2) - NOT FLOW-CORRECTED | [6 empty] | RED-Y MFM FLOW READOUT (mln/min) |  |  |  | CORRECTED FLOW USING MASS FLOW METER (mln/min) |  |  |  |  | FLOW-CORRECTED FARADAIC EFFICIENCY (%) | [6 empty] | FLOW-CORRECTED PCDs (mA/cm2) | [7 empty] | GC CONCENTRATIONS |  |  |  |  | CURRENT DENSITY | CORRECTED FLOW USING MASS FLOW METER (mln/min) |  |  |  |  | OXYGEN EVOLUTION REACTION AT THE ANODE | [5 empty] | TOTAL FLOWS | [8 empty] | WAKA WAKA EH EH
File number | DD-MM-YYYY HH:MM:SS | UNIX TIME | Interval (min) | Time elapsed (h) | Elapsed minus cond. (h) | Side ID | Point in run? | Average (V) | Maximum (V) | Minimum (V) | Std. Dev. (mV) | Curr Dens (mA/cm2) | Current (A) | H2_TCD | O2_TCD | N2_TCD | CO_TCD | CO2_TCD | CH4_FID | CO_FID | C2H4_FID | C2H6_FID | C3H6_FID | Remarks | H2_TCD | CO_FID | CO_TCD | CO2_TCD | O2_TCD | N2_TCD | CH4_FID | C2H4_FID | C3H6_FID | Total acc. (%) | Use CO from | CO (%) | H2 only (mln/min) | Total (mol/s) | Total (sccm) | H2_TCD | CO_FID | C2H4_FID | CH4_FID | C3H6_FID | Sum | Unaccounted | H2 | CO | C2H4 | CH4 | C3H6 | Unaccounted | CO GP Selectivity (%) | Average | Maximum | Minimum | Std Dev | Kmix | Average | Maximum | Minimum | Std Dev | H2 | CO | C2H4 | CH4 | C3H6 | Sum | Unaccounted | H2 | CO | C2H4 | CH4 | C3H6 | Unaccounted | Difference | UnaccCharge | H2 | O2 | N2 | CO2 | CO | Curr Dens (mA/cm2) | Kmix | Average | Maximum | Minimum | Std Dev | O2 (min/min) | O2 adjusted | O2 (mol/s) | OER current (A) | OER FE (%) | Non-OER FE (%) | CATHODE | ANODE | ANODE EXPECTED | INERT X-OVER | CO2 anode (mln/min) | CO2 anode (mol/s) | COX current (A) | COX FE (%) | Total GP accounted | Point ID |  | CO2 flow anode | CO flow cathode | CO2 flow cathode | Carbon sum | Carbon balance | Crossover ratio | H2 flow cathode | Total CO2 consumed
001 | 2020-03-05 14:48 | 1583416051 | - | 0.079306 | 0.079306 | BLK | Yes | 2.8472 | 3.1339 | 2.7235 | 111.5708 | 50.3708 | 0.11333 | 6733.89 |  |  |  | 436205.43 | [6 empty] | 0.1039 | 0 | 0 | 80.7795 | 0 | 0 | 0 | 0 | 0 | 80.8834 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 50.3708 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.39502 |  | - | - | - | - | - | 50-BLK | G | - | - | - |  |  |  | -
002 | 2020-03-05 15:17 | 1583417825 | 29.5667 | 0.57208 | 0.57208 | CTD | Yes | 2.7713 | 2.7715 | 2.7711 | 0.067164 | 50.4189 | 0.11344 | 2058.02 |  |  |  | 436843.52 | 50.86 | 3954978.61 |  |  |  |  | 0.031755 | 1.4173 | 0 | 80.8977 | 0 | 0 | 1.7906e-05 | 0 | 0 | 82.3468 | FID | 1.4173 | 0.015894 | 3.7191e-05 | 50.0282 | 2.0089 | 89.6647 | 0 | 0.0045312 | 0 | 91.6781 | 8.3219 | 1.0129 | 45.2079 | 0 | 0.0022846 | 0 | 4.1958 | 97.8086 |  |  |  |  | 0.99282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 50.4189 | -100 |  | - | - | - | - | - | 50.4189 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0.3954 |  | - | - | - | - | - | 50-CTD | G | - | 0 | 0 |  |  |  | 0
003 | 2020-03-05 15:47 | 1583419601 | 29.6 | 1.0654 | 1.0654 | CTD | Yes | 2.8601 | 2.8602 | 2.8599 | 0.06227 | 100.3123 | 0.2257 | 3351.19 |  |  |  | 435877.93 | 332.43 | 7768975 |  |  |  |  | 0.051708 | 2.7841 | 0 | 80.7189 | 0 | 0 | 0.00011704 | 0 | 0 | 83.5547 | FID | 2.7841 | 0.025881 | 3.7198e-05 | 50.0382 | 1.6445 | 88.5455 | 0 | 0.014889 | 0 | 90.2049 | 9.7951 | 1.6496 | 88.822 | 0 | 0.014935 | 0 | 9.8257 | 98.1766 |  |  |  |  | 0.98736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 100.3123 | -100 |  | - | - | - | - | - | 100.3123 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 0.78667 |  | - | - | - | - | - | 100-CTD | B | - | 0 | 0 |  |  |  | 0
004 | 2020-03-05 16:16 | 1583421378 | 29.6167 | 1.559 | 1.559 | CTD | Yes | 2.968 | 2.9712 | 2.964 | 2.1267 | 150.4997 | 0.33862 | 11473.97 |  |  |  | 428219.27 | 1332.35 | 10463891.89 |  |  |  |  | 0.17704 | 3.7499 | 0 | 79.3006 | 0 | 0 | 0.00046908 | 0 | 0 | 83.2275 | FID | 3.7499 | 0.088612 | 3.7245e-05 | 50.101 | 3.7576 | 79.5901 | 0 | 0.039824 | 0 | 83.3875 | 16.6125 | 5.6552 | 119.7828 | 0 | 0.059935 | 0 | 25.0017 | 95.4916 |  |  |  |  | 0.98182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 150.4997 | -100 |  | - | - | - | - | - | 150.4997 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 1.1803 | #VALUE! | - | - | - | - | - | 150-CTD | G | - | 0 | 0 |  |  |  | 0
005 | 2020-03-05 16:46 | 1583423155 | 29.6167 | 2.0526 | 2.0526 | CTD | Yes | 2.9966 | 3.0532 | 2.9674 | 13.9306 | 200.4076 | 0.45092 | 88394.61 |  |  |  | 423387.77 | 1693.04 | 10856136.79 |  |  |  |  | 1.3639 | 3.8904 | 0 | 78.4059 | 0 | 0 | 0.00059606 | 0 | 0 | 83.6602 | FID | 3.8904 | 0.68266 | 3.7687e-05 | 50.6952 | 21.9973 | 62.7455 | 0 | 0.038453 | 0 | 84.7813 | 15.2187 | 44.0842 | 125.7468 | 0 | 0.077064 | 0 | 30.4995 | 74.0423 |  |  |  |  | 0.96332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 200.4076 | -100 |  | - | - | - | - | - | 200.4076 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 1.5716 |  | - | - | - | - | Exclude | 200-CTD | B | - | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE!
006 | 2020-03-05 17:15 | 1583424924 | 29.4833 | 2.544 | 2.544 | CTD | Yes | 3.0565 | 3.2706 | 2.9846 | 62.5681 | 250.5413 | 0.56372 | 199239.13 |  |  |  | 416670.28 | 2059.01 | 9371664.2 |  |  |  |  | 3.0742 | 3.3585 | 0 | 77.1619 | 0 | 0 | 0.00072491 | 0 | 0 | 83.5945 | FID | 3.3585 | 1.5387 | 3.8323e-05 | 51.5514 | 40.3299 | 44.0589 | 0 | 0.03804 | 0 | 84.4267 | 15.5733 | 101.0429 | 110.3856 | 0 | 0.095305 | 0 | 39.0174 | 52.2094 |  |  |  |  | 0.93944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 250.5413 | -100 |  | - | - | - | - | - | 250.5413 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 1.9648 | #VALUE! | - | - | - | - | - | 250-CTD | G | - | 0 | 0 |  |  |  | 0
007 | 2020-03-05 17:45 | 1583426729 | 30.0833 | 3.0454 | 3.0454 | CTD | Yes | 3.0915 | 3.3075 | 3.0082 | 70.6404 | 300.5034 | 0.67613 | 229567.7 |  |  |  | 412150.43 | 2440.62 | 10454335.32 |  |  |  |  | 3.5422 | 3.7465 | 0 | 76.3248 | 0 | 0 | 0.00085926 | 0 | 0 | 83.6135 | FID | 3.7465 | 1.7729 | 3.8497e-05 | 51.7857 | 38.919 | 41.1635 | 0 | 0.037764 | 0 | 80.1203 | 19.8797 | 116.953 | 123.6976 | 0 | 0.11348 | 0 | 59.7393 | 51.4013 |  |  |  |  | 0.93089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 300.5034 | -100 |  | - | - | - | - | - | 300.5034 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 2.3566 |  | - | - | - | - | - | 300-CTD | B | - | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE!
008 | 2020-03-05 18:15 | 1583428505 | 29.6 | 3.5387 | 3.5387 | CTD | Yes | 2.9108 | 2.9132 | 2.9087 | 1.2983 | 150.4966 | 0.33862 | 6380.8 |  |  |  | 424325.25 | 1144.55 | 11557461.07 |  |  |  |  | 0.098454 | 4.1418 | 0 | 78.5795 | 0 | 0 | 0.00040296 | 0 | 0 | 82.8197 | FID | 4.1418 | 0.049278 | 3.7216e-05 | 50.0616 | 2.0881 | 87.8407 | 0 | 0.034184 | 0 | 89.963 | 10.037 | 3.1425 | 132.1973 | 0 | 0.051446 | 0 | 15.1054 | 97.6781 |  |  |  |  | 0.98153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 150.4966 | -100 |  | - | - | - | - | - | 150.4966 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 1.1802 | #VALUE! | - | - | - | - | - | 150-CTD | G | - | 0 | 0 |  |  |  | 0
009 | 2020-03-05 18:45 | 1583430279 | 29.5667 | 4.0315 | 4.0315 | CTD | Yes | 2.9719 | 3.1309 | 2.9023 | 47.4712 | 150.4814 | 0.33858 | 122640.44 |  |  |  | 425071.21 | 1460.67 | 6034977.53 |  |  |  |  | 1.8923 | 2.1627 | 0 | 78.7176 | 0 | 0 | 0.00051425 | 0 | 0 | 82.7726 | FID | 2.1627 | 0.94714 | 3.7883e-05 | 50.9597 | 40.8572 | 46.6955 | 0 | 0.044413 | 0 | 87.5971 | 12.4029 | 61.4825 | 70.268 | 0 | 0.066834 | 0 | 18.6641 | 53.3342 |  |  |  |  | 0.96184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 150.4814 | -100 |  | - | - | - | - | - | 150.4814 | - | - | - | - | - | - | - | - | - | - | - | 0 | - | 1.1801 |  | - | - | - | - | - | 150-CTD | G | - | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE!
010 |  | -2209165200 | -63209924.65 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
011 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - | #VALUE! | #VALUE! | #VALUE! | - | #VALUE!
012 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
013 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - | #VALUE! | #VALUE! | #VALUE! | - | #VALUE!
014 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
015 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - | #VALUE! | #VALUE! | #VALUE! | - | #VALUE!
016 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
017 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - | #VALUE! | #VALUE! | #VALUE! | - | #VALUE!
018 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
019 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - | #VALUE! | #VALUE! | #VALUE! | - | #VALUE!
020 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
021 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - | #VALUE! | #VALUE! | #VALUE! | - | #VALUE!
022 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
023 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
024 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
025 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
026 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
027 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FID | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 | #VALUE! | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
028 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
029 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
030 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
031 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
032 |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 |  | No | [5 empty] | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | 0 | - |  | - | - | - | - | - | - | - | - | - | - | - | 0 |  | - | - | - | - | - | 0- | B | - | - | - |  |  |  | -
FLOW BENCHMARK |  | -2209165200 | 0 | -1053494.7126 | -1053494.7126 | [36 empty] | - |  | - |  |  |  |  | - | - | - | [7 empty] | - | [5 empty] | - | - | - |  |  |  |  | - | - | - | [21 empty] | 0 |  | - | - | - | - | -
THERE MUST BE SOMETHING WRONG WITH O2 AND N2 CALIBRATION
[86 empty] | AVERAGE (%) | #DIV/0!
[86 empty] | STD DEV (%) | #DIV/0!